## Start here
Draw Secure Manufacturing Network Diagrams: data collection worksheets
© 2026 SegAudit LLC. Free to use, copy and share unchanged. Not for resale. netdiagrams.com
How to use these worksheets
1 | Draw what you have. Every worksheet has a few columns marked * : that is the minimum to draw the page.
2 | Fill a row even when you only know part of it. Put what you know, and set Confidence.
3 | Confidence codes: V verified (seen this year), R records (from paperwork), A assumed (best guess), U unknown (exists, details missing).
4 | Every A or U row gets a gap ID (G-001, G-002 ...) and a row in WS-11. That is your plan to improve.
5 | Collect from paperwork and backups first, then walk the cabinets (WS-09). Don't scan control networks; photograph, don't unplug.
6 | Names: if yours are messy, propose clean ones in WS-10 before you draw (book Appendix H).
7 | Columns for WS-02 to WS-04 follow NetBox import fields, so a filled sheet becomes import files (book Appendix F).
Worksheets
WS-01 | Site, areas and zones. Feeds: Page 1 Overview, page 2 Logical, title blocks. Book ch. 2-3
WS-02 | Network devices. Feeds: Page 3 Physical, asset register, page 3b modules & power. Book ch. 5-6
WS-03 | VLANs, subnets and gateways. Feeds: Page 2 Logical. Book ch. 4
WS-04 | Links, cables and optics. Feeds: Page 3 Physical, page 3b Hardware and optics, link register. Book ch. 5-6
WS-05 | Rings, pairs and stacks. Feeds: Page 5 Failover. Book ch. 7
WS-06 | Wireless. Feeds: Page 3d Wireless. Book ch. 8
WS-07 | Outside connections. Feeds: Page 1 Overview, page 6 Multi-site WAN. Book ch. 11, 14
WS-08 | Flows. Feeds: Page 4 Traffic flows, page 7 Flow register. Book ch. 9-10
WS-09 | Cabinet walkdown. Feeds: Checks WS-02 and WS-04 on site. Book ch. 5, 15
WS-10 | Name crosswalk. Feeds: Every page. Book Appendix H
WS-11 | Gaps and improvement plan. Feeds: Every page: the Plan to improve this page note. Book ch. 13, 15
WS-12 | Audit evidence. Feeds: Sheet 3f Audit evidence (NetBox builds). Book ch. 10

## WS-01
WS-01 Site, areas and zones
Feeds: Page 1 Overview, page 2 Logical, title blocks. Book ch. 2-3. Ask: Plant manager, controls engineer, IT lead. Sources: Site plan, old drawing, integrator handover packs, firewall zone names.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Site code* | Site name* | Area / building | Line / cell | Zone* | Purdue level | Security level target | Zone owner | What would stop if this zone failed | Confidence | Gap ID | Notes
Short and fixed, e.g. S01 |  | How people give directions | Line or cell name used on the floor | IT, IDMZ, OT ops, OT mgmt, Cell nn, SIS ... | L5-L0, L3.5 for the IDMZ | SL1-SL4 if your risk assessment set one | Who approves changes in this zone | In plain words, for page 1 | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
S01 | Plant A | Production hall | Cell 02 Packaging | Cell02 | L1-L0 | SL2 | Packaging controls lead | Line 2 packaging | V

## WS-02
WS-02 Network devices
Feeds: Page 3 Physical, asset register, page 3b modules & power. Book ch. 5-6. Ask: IT lead, controls engineer, integrator, purchasing. Sources: Asset list, purchase orders, support contracts, config backups on file, cabinet photos.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Name* | Old / other names | Role* | Zone* | Location / cabinet | Manufacturer | Model | Serial | Modules, PSUs, fans | Management IP | Software version | Support end date | Criticality | Confidence | Gap ID | Notes
The hostname, exactly as configured | Labels, spreadsheet names (WS-10) | Core, firewall, industrial switch, AP, radio ... | From WS-01 |  |  | From the label or invoice |  | Part and serial of each, from show inventory | Address and mask |  |  | Critical, high, medium or low: agree it with the owner | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
S01-C02-IE01 | Line2-SW-new | Industrial switch | Cell02 | S01-C02-CAB01 |  |  |  | Dual 24 VDC power; SD-IE-4GB card | 10.101.90.21/24 |  |  | High | V

## WS-03
WS-03 VLANs, subnets and gateways
Feeds: Page 2 Logical. Book ch. 4. Ask: IT lead (core and firewall), controls engineer (cell VLANs). Sources: Switch config backups on file, firewall interface export, IP spreadsheet, DHCP scopes.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
VLAN ID* | VLAN name* | Zone* | Subnet | Gateway address | Gateway device and interface | VRF / routing table | DHCP? | What lives here | Confidence | Gap ID | Notes
1-4094 | As configured, or proposed (Appendix H) | From WS-01 | CIDR |  | Where the gateway lives |  | Yes / no / relay to ... | PLCs, HMIs, cameras ... | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
520 | C02-CTRL | Cell02 | 10.101.120.0/24 | 10.101.120.1 | S01-FW-ITOT pair, sub-if 520 | CELL02 | No | PLCs and HMIs, Line 2 | V

## WS-04
WS-04 Links, cables and optics
Feeds: Page 3 Physical, page 3b Hardware and optics, link register. Book ch. 5-6. Ask: Installer, maintenance electricians, IT lead. Sources: Cable schedule or as-built, labels on both ends, config backups (port-channels), cabinet walkdown (WS-09).
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Cable label | Device A* | Port A | Device B* | Port B | Media | Speed | Optic part number | Optic serials | Patch panel ports | Port-channel / LAG | VLANs carried | Confidence | Gap ID | Notes
Printed on both ends; U if none |  | Full interface name from the config |  |  | Copper, single-mode, multimode, radio |  | Each end, from the module label or show inventory | Each end, from show inventory | Panel and port at each end, if it is patched |  | Trunk list or access VLAN | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
S01-CBL-055 | S01-OT-CORE-1 | TwentyFiveGigE1/0/17 | S01-C02-IE01 | GigabitEthernet1/1 | Single-mode | 1G | GLC-LX-SM-RGD |  |  |  | 520,521,529 | V

## WS-05
WS-05 Rings, pairs and stacks
Feeds: Page 5 Failover. Book ch. 7. Ask: Controls engineer (rings), IT lead (pairs, stacks). Sources: Config backups, integrator handover pack, vendor commissioning report.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Group name* | Type* | Members* | Protocol | Which member is active / root | What happens if one member fails | Last tested | Confidence | Gap ID | Notes
What you call it | Ring, HA pair, stack, virtual chassis, redundant links | Device names in order | e.g. REP, DLR, MRP, HA mode |  | In one line | Date of the last real failover test | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
Cell02 ring | Ring | S01-C02-IE01, -IE02, -IE03 | REP |  | Ring heals; no stop expected |  | V

## WS-06
WS-06 Wireless
Feeds: Page 3d Wireless. Book ch. 8. Ask: IT lead, controls engineer (AGVs, tablets), radio installer. Sources: Controller export, radio commissioning sheets, site survey report.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
SSID or link name* | Type* | Zone it lands in* | VLAN | Security | Switching | Bands | Broadcast on | Guest controls | Managed by | APs or ends | Link band · channel · width | Who uses it | Confidence | Gap ID | Notes
| SSID or point-to-point bridge | From WS-01 |  | e.g. WPA3-Enterprise, WPA2-PSK | Tunneled to controller, local, bridged (WGB) | 2.4 / 5 / 6 GHz | Areas or AP group | Client isolation, portal | Controller, cloud or firewall, with its name |  | Point-to-point links only |  | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
OT-MOBILE | SSID | OT ops | 350 OT-WLAN | WPA3-Enterprise, EAP-TLS | Tunneled (local mode) | 5 GHz | Plant APs |  | Controller S01-OT-WLC | S01-AP-OT-01..03 |  | Plant tablets and scanners | V

## WS-07
WS-07 Outside connections
Feeds: Page 1 Overview, page 6 Multi-site WAN. Book ch. 11, 14. Ask: IT lead, finance (invoices), each vendor with remote access. Sources: Carrier contracts and invoices, firewall interface export, vendor access agreements, remote access gateway user list.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Connection* | Provider or vendor* | Circuit ID / account | Lands on device* | Zone it lands in* | Who can use it | How access is approved | Bypass suspected? | Confidence | Gap ID | Notes
Internet, WAN, vendor remote access, cloud, cellular router ... |  | Copied from the contract, never invented | Where it terminates on site |  |  | Ticket, time window, recorded session ... | Second NIC, cellular modem, own router | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
Palletizer vendor remote access |  |  | S01-IDMZ remote access gateway | IDMZ | Vendor service team |  |  | V

## WS-08
WS-08 Flows
Feeds: Page 4 Traffic flows, page 7 Flow register. Book ch. 9-10. Ask: Controls engineer, IT lead, application owners, vendors. Sources: Firewall rule export, application documentation, vendor requirements, change records.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Flow ID | Name* | Source* | Destination* | Protocol / port | Initiator | Path / enforcing device | Type* | Controls / conditions | Business owner | Confidence | Gap ID | Notes
F-nn | What it is for | Zone and host or group | Zone and host or group |  | Who opens the connection |  | Allow, Conditional, Deny | MFA, time window, recorded session ... |  | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
F-07 | Historian replication to IDMZ | OT ops: historian | IDMZ: replica historian | TCP, port per vendor | Source | S01-FW-ITOT pair | Allow |  |  | V

## WS-09
WS-09 Cabinet walkdown
Feeds: Checks WS-02 and WS-04 on site. Book ch. 5, 15. Ask: Walk it with a maintenance electrician, during a safe window. Sources: Your eyes, a flashlight, a phone camera. Photograph, don't unplug.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Cabinet / rack* | Device label seen* | Model / serial seen | Port* | Link light / in use? | Cable label seen | Goes to (if traceable) | Photo # | Confidence | Gap ID | Notes
Name on the door, or proposed name | Exactly as printed |  |  |  | Both ends if you can |  |  | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
S01-C02-CAB01 | [7 empty] | V

## WS-10
WS-10 Name crosswalk
Feeds: Every page. Book Appendix H. Ask: IT lead and controls engineer together. Sources: WS-02, WS-03, labels from WS-09, HMI and application configs that use names.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Current name* | Where it appears | Proposed name* | Keep old name as alias? | Rename window | Depends on name | Agreed by | Confidence | Gap ID | Notes
| Config, label, spreadsheet, HMI, DNS ... | Appendix H pattern | In NetBox description or DNS | Next maintenance stop, or paper only | Applications, HMI screens, scripts |  | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
Line2-SW-new | Label, IP spreadsheet | S01-C02-IE01 | Yes | Paper now; device at shutdown | None known |  | V

## WS-11
WS-11 Gaps and improvement plan
Feeds: Every page: the Plan to improve this page note. Book ch. 13, 15. Ask: Whoever owns the drawing; review it monthly. Sources: A and U rows on every worksheet, the drift report, review comments.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Gap ID* | What is missing* | Shows on page | Drawn as | Collect with | How / who | Owner* | Target date | Status* | Closed on
G-001, never reused |  |  | A (?) or U (UNKNOWN) | Worksheet ID | Source and person to ask |  |  | Open, in progress, closed
G-007 | Uplink port of S01-C02-IE03 | 3 Physical | A | WS-09 | Walk Cell02 cabinet with maintenance |  |  | Open

## WS-12
WS-12 Audit evidence
Feeds: Sheet 3f Audit evidence (NetBox builds). Book ch. 10. Ask: Asset owners, IT lead, controls engineer, whoever runs backups, patching and monitoring. Sources: Backup tool job log, patch and change records, support contracts, monitoring and SIEM consoles, room walk-downs.
Columns marked * are the minimum to draw. Row 6 is a Plant A example; overwrite or delete it.
Asset or area* | Asset owner* | Custodian | Scope | Data class | Room access | Last config backup | Last patched | Last walk-down | Support contract end | Install date | Monitored | Logs go to | Confidence | Gap ID | Notes
A device, or a room or the site to cover everything in it | Accountable: approves changes and access, accepts risk | Runs it day to day | Compliance: safety, NERC CIP, PCI, GxP ... or none | Public, internal, confidential, restricted | Open, locked cabinet, locked room, badge, badge + camera | Date, from the backup tool's job log | Date, from the change record | Date it was last checked against the drawing | Date |  | Alerts, no alerts, OT IDS, none; and the system | SIEM, syslog server, local only, none; where; days kept | V verified · R records · A assumed · U unknown | G-nnn for every A or U row (see WS-11) | Anything odd, and where you found it
Cell01 floor | Ravi Okafor | OT controls team |  | Confidential | Locked cabinet |  |  | 2026-06-18 |  |  |  |  | V